## NoOccSensor
IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom
G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1
Occupant | Elec | Lighting | Infiltration | OA | Cooling | Heating | SZ-CAV | SZ-CAV | SZ-CAV | SZ-CAV
Sch,Unit | Equip | Schedule,Unit | Schedule,Any | Schedule,Binary | Setpoint | Setpoint | Operation | Outdoor | Schedule,Binary | Fan
Interval,Through: | Sch,Unit | Interval,Through: | Number,Through: | Control,Through: | Schedule,Temperature,Through: | Schedule,Temperature,Through: | Schedule,Binary | Air | Control,Through: | Mode
1/11,For:SummerDesignDay | Interval,Through: | 1/11,For:SummerDesignDay | 12/31,For: | 1/11,For:SummerDesignDay | 1/11,For:SummerDesignDay | 1/11,For:SummerDesignDay | Control,Through: | Schedule,Unit | 1/11,For:SummerDesignDay | Schedule,Fan
WinterDesignDay,Until: | 1/11,For:SummerDesignDay | WinterDesignDay,Until: | AllDays,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | 1/11,For:SummerDesignDay | Interval,Through: | WinterDesignDay,Until: | Mode
24:00,1,For: | WinterDesignDay,Until: | 24:00,1,For: | 24:00,1.0 | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | 1/11,For:SummerDesignDay | 24:00,1,For: | Control,Through:
AllOtherdays,Until: | 24:00,1,For: | AllOtherdays,Until: |  | AllOtherdays,Until: | AllOtherdays,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until: | 12/31,For:
24:00,0,Through: | AllOtherdays,Until: | 24:00,0,Through: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through: | AllDays,Until:
4/3,For: | 24:00,0,Through: | 4/3,For: |  | 4/3,For: | 4/3,For: | 4/3,For: | 24:00,0,Through: | AllOtherdays,Until: | 4/3,For: | 24:00,0
SummerDesignDay,Until: | 4/3,For: | SummerDesignDay,Until: |  | SummerDesignDay | SummerDesignDay | SummerDesignDay | 4/3,For: | 24:00,0,Through: | SummerDesignDay
24:00,1,For: | SummerDesignDay,Until: | 24:00,1,For: |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | SummerDesignDay | 4/3,For: | WinterDesignDay,Until:
WinterDesignDay,Until: | 24:00,1,For: | WinterDesignDay,Until: |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
24:00,0,For: | WinterDesignDay,Until: | 24:00,0,For: |  | Weekdays,Until: | Weekdays,Until: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
Weekdays,Until: | 24:00,0,For: | Weekdays,Until: |  | 06:00,0,Until: | 06:00,29.444444444444443,Until: | 06:00,15.555555555555555,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
07:00,0,Until: | Weekdays,Until: | 07:00,0.05,Until: |  | 22:00,1,Until: | 22:00,23.88888888888889,Until: | 22:00,21.11111111111111,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
08:00,0.05,Until: | 07:00,0.05,Until: | 08:00,0.3,Until: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
09:00,0.75,Until: | 08:00,0.3,Until: | 09:00,0.6,Until: |  | Saturdays,Until: | Saturdays,Until: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
11:00,0.9,Until: | 09:00,0.85,Until: | 12:00,0.65,Until: |  | 07:00,0,Until: | 07:00,29.444444444444443,Until: | 07:00,15.555555555555555,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
15:00,0.8,Until: | 12:00,0.95,Until: | 15:00,0.55,Until: |  | 13:00,1,Until: | 13:00,23.88888888888889,Until: | 13:00,21.11111111111111,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
16:00,0.45,Until: | 15:00,0.8,Until: | 16:00,0.5,Until: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
17:00,0.15,Until: | 16:00,0.7,Until: | 21:00,0.35,Until: |  | AllOtherDays,Until: | AllOtherDays,Until: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
18:00,0.05,Until: | 18:00,0.5,Until: | 22:00,0.30,Until: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
19:00,0.15,Until: | 21:00,0.35,Until: | 24:00,0.05,For: |  | 4/12,For:SummerDesignDay | 4/12,For:SummerDesignDay | 4/12,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 4/12,For:SummerDesignDay
21:00,0.2,Until: | 22:00,0.30,Until: | Saturdays,Until: |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | 4/12,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
22:00,0.1,Until: | 24:00,0.05,For: | 08:00,0.05,Until: |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | 4/12,For:SummerDesignDay | 24:00,1,For:
24:00,0,For: | Saturdays,Until: | 13:00,0.15,Until: |  | AllOtherdays,Until: | AllOtherdays,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
Saturdays,Until: | 08:00,0.05,Until: | 24:00,0.05,For: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through:
08:00,0,Until: | 13:00,0.15,Until: | AllOtherDays,Until: |  | 5/22,For: | 5/22,For: | 5/22,For: | 24:00,0,Through: | AllOtherdays,Until: | 5/22,For:
13:00,0.1,Until: | 24:00,0.05,For: | 24:00,0.05,Through: |  | SummerDesignDay | SummerDesignDay | SummerDesignDay | 5/22,For: | 24:00,0,Through: | SummerDesignDay
24:00,0,For: | AllOtherDays,Until: | 4/12,For:SummerDesignDay |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | SummerDesignDay | 5/22,For: | WinterDesignDay,Until:
AllOtherDays,Until: | 24:00,0.05,Through: | WinterDesignDay,Until: |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
24:00,0,Through: | 4/12,For:SummerDesignDay | 24:00,1,For: |  | Weekdays,Until: | Weekdays,Until: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
4/12,For:SummerDesignDay | WinterDesignDay,Until: | AllOtherdays,Until: |  | 06:00,0,Until: | 06:00,29.444444444444443,Until: | 06:00,15.555555555555555,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
WinterDesignDay,Until: | 24:00,1,For: | 24:00,0,Through: |  | 22:00,1,Until: | 22:00,23.88888888888889,Until: | 22:00,21.11111111111111,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
24:00,1,For: | AllOtherdays,Until: | 5/22,For: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
AllOtherdays,Until: | 24:00,0,Through: | SummerDesignDay,Until: |  | Saturdays,Until: | Saturdays,Until: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
24:00,0,Through: | 5/22,For: | 24:00,1,For: |  | 07:00,0,Until: | 07:00,29.444444444444443,Until: | 07:00,15.555555555555555,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
5/22,For: | SummerDesignDay,Until: | WinterDesignDay,Until: |  | 13:00,1,Until: | 13:00,23.88888888888889,Until: | 13:00,21.11111111111111,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
SummerDesignDay,Until: | 24:00,1,For: | 24:00,0,For: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until: |  | AllOtherDays,Until: | AllOtherDays,Until: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
WinterDesignDay,Until: | 24:00,0,For: | 07:00,0.05,Until: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
24:00,0,For: | Weekdays,Until: | 08:00,0.3,Until: |  | 5/31,For:SummerDesignDay | 5/31,For:SummerDesignDay | 5/31,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 5/31,For:SummerDesignDay
Weekdays,Until: | 07:00,0.05,Until: | 09:00,0.6,Until: |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | 5/31,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
07:00,0,Until: | 08:00,0.3,Until: | 12:00,0.65,Until: |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | 5/31,For:SummerDesignDay | 24:00,1,For:
08:00,0.05,Until: | 09:00,0.85,Until: | 15:00,0.55,Until: |  | AllOtherdays,Until: | AllOtherdays,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
09:00,0.75,Until: | 12:00,0.95,Until: | 16:00,0.5,Until: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through:
11:00,0.9,Until: | 15:00,0.8,Until: | 21:00,0.35,Until: |  | 8/7,For: | 8/7,For: | 8/7,For: | 24:00,0,Through: | AllOtherdays,Until: | 8/7,For:
15:00,0.8,Until: | 16:00,0.7,Until: | 22:00,0.30,Until: |  | SummerDesignDay | SummerDesignDay | SummerDesignDay | 8/7,For: | 24:00,0,Through: | SummerDesignDay
16:00,0.45,Until: | 18:00,0.5,Until: | 24:00,0.05,For: |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | SummerDesignDay | 8/7,For: | WinterDesignDay,Until:
17:00,0.15,Until: | 21:00,0.35,Until: | Saturdays,Until: |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
18:00,0.05,Until: | 22:00,0.30,Until: | 08:00,0.05,Until: |  | Weekdays,Until: | Weekdays,Until: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
19:00,0.15,Until: | 24:00,0.05,For: | 13:00,0.15,Until: |  | 06:00,0,Until: | 06:00,29.444444444444443,Until: | 06:00,15.555555555555555,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
21:00,0.2,Until: | Saturdays,Until: | 24:00,0.05,For: |  | 22:00,1,Until: | 22:00,23.88888888888889,Until: | 22:00,21.11111111111111,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
22:00,0.1,Until: | 08:00,0.05,Until: | AllOtherDays,Until: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
24:00,0,For: | 13:00,0.15,Until: | 24:00,0.05,Through: |  | Saturdays,Until: | Saturdays,Until: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
Saturdays,Until: | 24:00,0.05,For: | 5/31,For:SummerDesignDay |  | 07:00,0,Until: | 07:00,29.444444444444443,Until: | 07:00,15.555555555555555,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
08:00,0,Until: | AllOtherDays,Until: | WinterDesignDay,Until: |  | 13:00,1,Until: | 13:00,23.88888888888889,Until: | 13:00,21.11111111111111,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
13:00,0.1,Until: | 24:00,0.05,Through: | 24:00,1,For: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
24:00,0,For: | 5/31,For:SummerDesignDay | AllOtherdays,Until: |  | AllOtherDays,Until: | AllOtherDays,Until: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
AllOtherDays,Until: | WinterDesignDay,Until: | 24:00,0,Through: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
24:00,0,Through: | 24:00,1,For: | 8/7,For: |  | 8/16,For:SummerDesignDay | 8/16,For:SummerDesignDay | 8/16,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 8/16,For:SummerDesignDay
5/31,For:SummerDesignDay | AllOtherdays,Until: | SummerDesignDay,Until: |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | 8/16,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
WinterDesignDay,Until: | 24:00,0,Through: | 24:00,1,For: |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | 8/16,For:SummerDesignDay | 24:00,1,For:
24:00,1,For: | 8/7,For: | WinterDesignDay,Until: |  | AllOtherdays,Until: | AllOtherdays,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
AllOtherdays,Until: | SummerDesignDay,Until: | 24:00,0,For: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through:
24:00,0,Through: | 24:00,1,For: | Weekdays,Until: |  | 12/11,For: | 12/11,For: | 12/11,For: | 24:00,0,Through: | AllOtherdays,Until: | 12/11,For:
8/7,For: | WinterDesignDay,Until: | 07:00,0.05,Until: |  | SummerDesignDay | SummerDesignDay | SummerDesignDay | 12/11,For: | 24:00,0,Through: | SummerDesignDay
SummerDesignDay,Until: | 24:00,0,For: | 08:00,0.3,Until: |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | SummerDesignDay | 12/11,For: | WinterDesignDay,Until:
24:00,1,For: | Weekdays,Until: | 09:00,0.6,Until: |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
WinterDesignDay,Until: | 07:00,0.05,Until: | 12:00,0.65,Until: |  | Weekdays,Until: | Weekdays,Until: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
24:00,0,For: | 08:00,0.3,Until: | 15:00,0.55,Until: |  | 06:00,0,Until: | 06:00,29.444444444444443,Until: | 06:00,15.555555555555555,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
Weekdays,Until: | 09:00,0.85,Until: | 16:00,0.5,Until: |  | 22:00,1,Until: | 22:00,23.88888888888889,Until: | 22:00,21.11111111111111,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
07:00,0,Until: | 12:00,0.95,Until: | 21:00,0.35,Until: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
08:00,0.05,Until: | 15:00,0.8,Until: | 22:00,0.30,Until: |  | Saturdays,Until: | Saturdays,Until: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
09:00,0.75,Until: | 16:00,0.7,Until: | 24:00,0.05,For: |  | 07:00,0,Until: | 07:00,29.444444444444443,Until: | 07:00,15.555555555555555,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
11:00,0.9,Until: | 18:00,0.5,Until: | Saturdays,Until: |  | 13:00,1,Until: | 13:00,23.88888888888889,Until: | 13:00,21.11111111111111,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
15:00,0.8,Until: | 21:00,0.35,Until: | 08:00,0.05,Until: |  | 24:00,0,For: | 24:00,29.444444444444443,For: | 24:00,15.555555555555555,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
16:00,0.45,Until: | 22:00,0.30,Until: | 13:00,0.15,Until: |  | AllOtherDays,Until: | AllOtherDays,Until: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
17:00,0.15,Until: | 24:00,0.05,For: | 24:00,0.05,For: |  | 24:00,0,Through: | 24:00,29.444444444444443,Through: | 24:00,15.555555555555555,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
18:00,0.05,Until: | Saturdays,Until: | AllOtherDays,Until: |  | 12/31,For:SummerDesignDay | 12/31,For:SummerDesignDay | 12/31,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 12/31,For:SummerDesignDay
19:00,0.15,Until: | 08:00,0.05,Until: | 24:00,0.05,Through: |  | WinterDesignDay,Until: | WinterDesignDay,Until: | WinterDesignDay,Until: | 12/31,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
21:00,0.2,Until: | 13:00,0.15,Until: | 8/16,For:SummerDesignDay |  | 24:00,1,For: | 24:00,23.88888888888889,For: | 24:00,21.11111111111111,For: | WinterDesignDay,Until: | 12/31,For:SummerDesignDay | 24:00,1,For:
22:00,0.1,Until: | 24:00,0.05,For: | WinterDesignDay,Until: |  | AllOtherdays,Until: | AllOtherdays,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
24:00,0,For: | AllOtherDays,Until: | 24:00,1,For: |  | 24:00,0 | 24:00,29.444444444444443 | 24:00,15.555555555555555 | AllOtherdays,Until: | 24:00,1,For: | 24:00,0
Saturdays,Until: | 24:00,0.05,Through: | AllOtherdays,Until: |  |  |  |  | 24:00,0 | AllOtherdays,Until:
08:00,0,Until: | 8/16,For:SummerDesignDay | 24:00,0,Through: | [5 empty] | 24:00,0
13:00,0.1,Until: | WinterDesignDay,Until: | 12/11,For: |  |  | Cooling setpoint/setback | Heating setpoint/setback
24:00,0,For: | 24:00,1,For: | SummerDesignDay,Until: |  |  | 23.88 >>> 75.0 F | 21.11 >>> 70.0 F
AllOtherDays,Until: | AllOtherdays,Until: | 24:00,1,For: |  |  | 29.44 >>> 85.0 F | 15.55 >>> 60.0 F
24:00,0,Through: | 24:00,0,Through: | WinterDesignDay,Until:
8/16,For:SummerDesignDay | 12/11,For: | 24:00,0,For:
WinterDesignDay,Until: | SummerDesignDay,Until: | Weekdays,Until:
24:00,1,For: | 24:00,1,For: | 07:00,0.05,Until:
AllOtherdays,Until: | WinterDesignDay,Until: | 08:00,0.3,Until:
24:00,0,Through: | 24:00,0,For: | 09:00,0.6,Until:
12/11,For: | Weekdays,Until: | 12:00,0.65,Until:
SummerDesignDay,Until: | 07:00,0.05,Until: | 15:00,0.55,Until:
24:00,1,For: | 08:00,0.3,Until: | 16:00,0.5,Until:
WinterDesignDay,Until: | 09:00,0.85,Until: | 21:00,0.35,Until:
24:00,0,For: | 12:00,0.95,Until: | 22:00,0.30,Until:
Weekdays,Until: | 15:00,0.8,Until: | 24:00,0.05,For:
07:00,0,Until: | 16:00,0.7,Until: | Saturdays,Until:
08:00,0.05,Until: | 18:00,0.5,Until: | 08:00,0.05,Until:
09:00,0.75,Until: | 21:00,0.35,Until: | 13:00,0.15,Until:
11:00,0.9,Until: | 22:00,0.30,Until: | 24:00,0.05,For:
15:00,0.8,Until: | 24:00,0.05,For: | AllOtherDays,Until:
16:00,0.45,Until: | Saturdays,Until: | 24:00,0.05,Through:
17:00,0.15,Until: | 08:00,0.05,Until: | 12/31,For:SummerDesignDay
18:00,0.05,Until: | 13:00,0.15,Until: | WinterDesignDay,Until:
19:00,0.15,Until: | 24:00,0.05,For: | 24:00,1,For:
21:00,0.2,Until: | AllOtherDays,Until: | AllOtherdays,Until:
22:00,0.1,Until: | 24:00,0.05,Through: | 24:00,0
24:00,0,For: | 12/31,For:SummerDesignDay
Saturdays,Until: | WinterDesignDay,Until:
08:00,0,Until: | 24:00,1,For:
13:00,0.1,Until: | AllOtherdays,Until:
24:00,0,For: | 24:00,0
AllOtherDays,Until:
24:00,0,Through:
12/31,For:SummerDesignDay
WinterDesignDay,Until:
24:00,1,For:
AllOtherdays,Until:
24:00,0

## OccSensor
IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom | IDF,Schedule:Compact,Classroom
G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1 | G.E1
Infiltration | Lighting | Elec | Occupant | OA | SZ-CAV | SZ-CAV | SZ-CAV | SZ-CAV
Schedule,Any | Schedule,Unit | Equip | Sch,Unit | Schedule,Binary | Operation | Outdoor | Schedule,Binary | Fan
Number,Through: | Interval,Through: | Sch,Unit | Interval,Through: | Control,Through: | Schedule,Binary | Air | Control,Through: | Mode
12/31,For: | 1/11,For:SummerDesignDay | Interval,Through: | 1/11,For:SummerDesignDay | 1/11,For:SummerDesignDay | Control,Through: | Schedule,Unit | 1/11,For:SummerDesignDay | Schedule,Fan
AllDays,Until: | WinterDesignDay,Until: | 1/11,For:SummerDesignDay | WinterDesignDay,Until: | WinterDesignDay,Until: | 1/11,For:SummerDesignDay | Interval,Through: | WinterDesignDay,Until: | Mode
24:00,1.0 | 24:00,1,For: | WinterDesignDay,Until: | 24:00,1,For: | 24:00,1,For: | WinterDesignDay,Until: | 1/11,For:SummerDesignDay | 24:00,1,For: | Control,Through:
| AllOtherdays,Until: | 24:00,1,For: | AllOtherdays,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until: | 12/31,For:
| 24:00,0,Through: | AllOtherdays,Until: | 24:00,0,Through: | 24:00,0,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through: | AllDays,Until:
| 4/3,For: | 24:00,0,Through: | 4/3,For: | 4/3,For: | 24:00,0,Through: | AllOtherdays,Until: | 4/3,For: | 24:00,0
| SummerDesignDay,Until: | 4/3,For: | SummerDesignDay,Until: | SummerDesignDay | 4/3,For: | 24:00,0,Through: | SummerDesignDay
| 24:00,1,For: | SummerDesignDay,Until: | 24:00,1,For: | WinterDesignDay,Until: | SummerDesignDay | 4/3,For: | WinterDesignDay,Until:
| WinterDesignDay,Until: | 24:00,1,For: | WinterDesignDay,Until: | 24:00,1,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
| 24:00,0,For: | WinterDesignDay,Until: | 24:00,0,For: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
| Weekdays,Until: | 24:00,0,For: | Weekdays,Until: | 06:00,0,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
| 07:00,0.05,Until: | Weekdays,Until: | 07:00,0,Until: | 22:00,1,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
| 08:00,0.3,Until: | 07:00,0.05,Until: | 08:00,0.05,Until: | 24:00,0,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
| 09:00,0.6,Until: | 08:00,0.3,Until: | 09:00,0.75,Until: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
| 12:00,0.65,Until: | 09:00,0.85,Until: | 11:00,0.9,Until: | 07:00,0,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
| 15:00,0.55,Until: | 12:00,0.95,Until: | 15:00,0.8,Until: | 13:00,1,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
| 16:00,0.5,Until: | 15:00,0.8,Until: | 16:00,0.45,Until: | 24:00,0,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
| 21:00,0.35,Until: | 16:00,0.7,Until: | 17:00,0.15,Until: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
| 22:00,0.30,Until: | 18:00,0.5,Until: | 18:00,0.05,Until: | 24:00,0,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
| 24:00,0.05,For: | 21:00,0.35,Until: | 19:00,0.15,Until: | 4/12,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 4/12,For:SummerDesignDay
| Saturdays,Until: | 22:00,0.30,Until: | 21:00,0.2,Until: | WinterDesignDay,Until: | 4/12,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
| 08:00,0.05,Until: | 24:00,0.05,For: | 22:00,0.1,Until: | 24:00,1,For: | WinterDesignDay,Until: | 4/12,For:SummerDesignDay | 24:00,1,For:
| 13:00,0.15,Until: | Saturdays,Until: | 24:00,0,For: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
| 24:00,0.05,For: | 08:00,0.05,Until: | Saturdays,Until: | 24:00,0,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through:
| AllOtherDays,Until: | 13:00,0.15,Until: | 08:00,0,Until: | 5/22,For: | 24:00,0,Through: | AllOtherdays,Until: | 5/22,For:
| 24:00,0.05,Through: | 24:00,0.05,For: | 13:00,0.1,Until: | SummerDesignDay | 5/22,For: | 24:00,0,Through: | SummerDesignDay
| 4/12,For:SummerDesignDay | AllOtherDays,Until: | 24:00,0,For: | WinterDesignDay,Until: | SummerDesignDay | 5/22,For: | WinterDesignDay,Until:
| WinterDesignDay,Until: | 24:00,0.05,Through: | AllOtherDays,Until: | 24:00,1,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
| 24:00,1,For: | 4/12,For:SummerDesignDay | 24:00,0,Through: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
| AllOtherdays,Until: | WinterDesignDay,Until: | 4/12,For:SummerDesignDay | 06:00,0,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
| 24:00,0,Through: | 24:00,1,For: | WinterDesignDay,Until: | 22:00,1,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
| 5/22,For: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
| SummerDesignDay,Until: | 24:00,0,Through: | AllOtherdays,Until: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
| 24:00,1,For: | 5/22,For: | 24:00,0,Through: | 07:00,0,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
| WinterDesignDay,Until: | SummerDesignDay,Until: | 5/22,For: | 13:00,1,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
| 24:00,0,For: | 24:00,1,For: | SummerDesignDay,Until: | 24:00,0,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
| Weekdays,Until: | WinterDesignDay,Until: | 24:00,1,For: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
| 07:00,0.05,Until: | 24:00,0,For: | WinterDesignDay,Until: | 24:00,0,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
| 08:00,0.3,Until: | Weekdays,Until: | 24:00,0,For: | 5/31,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 5/31,For:SummerDesignDay
| 09:00,0.6,Until: | 07:00,0.05,Until: | Weekdays,Until: | WinterDesignDay,Until: | 5/31,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
| 12:00,0.65,Until: | 08:00,0.3,Until: | 07:00,0,Until: | 24:00,1,For: | WinterDesignDay,Until: | 5/31,For:SummerDesignDay | 24:00,1,For:
| 15:00,0.55,Until: | 09:00,0.85,Until: | 08:00,0.05,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
| 16:00,0.5,Until: | 12:00,0.95,Until: | 09:00,0.75,Until: | 24:00,0,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through:
| 21:00,0.35,Until: | 15:00,0.8,Until: | 11:00,0.9,Until: | 8/7,For: | 24:00,0,Through: | AllOtherdays,Until: | 8/7,For:
| 22:00,0.30,Until: | 16:00,0.7,Until: | 15:00,0.8,Until: | SummerDesignDay | 8/7,For: | 24:00,0,Through: | SummerDesignDay
| 24:00,0.05,For: | 18:00,0.5,Until: | 16:00,0.45,Until: | WinterDesignDay,Until: | SummerDesignDay | 8/7,For: | WinterDesignDay,Until:
| Saturdays,Until: | 21:00,0.35,Until: | 17:00,0.15,Until: | 24:00,1,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
| 08:00,0.05,Until: | 22:00,0.30,Until: | 18:00,0.05,Until: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
| 13:00,0.15,Until: | 24:00,0.05,For: | 19:00,0.15,Until: | 06:00,0,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
| 24:00,0.05,For: | Saturdays,Until: | 21:00,0.2,Until: | 22:00,1,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
| AllOtherDays,Until: | 08:00,0.05,Until: | 22:00,0.1,Until: | 24:00,0,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
| 24:00,0.05,Through: | 13:00,0.15,Until: | 24:00,0,For: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
| 5/31,For:SummerDesignDay | 24:00,0.05,For: | Saturdays,Until: | 07:00,0,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
| WinterDesignDay,Until: | AllOtherDays,Until: | 08:00,0,Until: | 13:00,1,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
| 24:00,1,For: | 24:00,0.05,Through: | 13:00,0.1,Until: | 24:00,0,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
| AllOtherdays,Until: | 5/31,For:SummerDesignDay | 24:00,0,For: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
| 24:00,0,Through: | WinterDesignDay,Until: | AllOtherDays,Until: | 24:00,0,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
| 8/7,For: | 24:00,1,For: | 24:00,0,Through: | 8/16,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 8/16,For:SummerDesignDay
| SummerDesignDay,Until: | AllOtherdays,Until: | 5/31,For:SummerDesignDay | WinterDesignDay,Until: | 8/16,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
| 24:00,1,For: | 24:00,0,Through: | WinterDesignDay,Until: | 24:00,1,For: | WinterDesignDay,Until: | 8/16,For:SummerDesignDay | 24:00,1,For:
| WinterDesignDay,Until: | 8/7,For: | 24:00,1,For: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
| 24:00,0,For: | SummerDesignDay,Until: | AllOtherdays,Until: | 24:00,0,Through: | AllOtherdays,Until: | 24:00,1,For: | 24:00,0,Through:
| Weekdays,Until: | 24:00,1,For: | 24:00,0,Through: | 12/11,For: | 24:00,0,Through: | AllOtherdays,Until: | 12/11,For:
| 07:00,0.05,Until: | WinterDesignDay,Until: | 8/7,For: | SummerDesignDay | 12/11,For: | 24:00,0,Through: | SummerDesignDay
| 08:00,0.3,Until: | 24:00,0,For: | SummerDesignDay,Until: | WinterDesignDay,Until: | SummerDesignDay | 12/11,For: | WinterDesignDay,Until:
| 09:00,0.6,Until: | Weekdays,Until: | 24:00,1,For: | 24:00,1,For: | WinterDesignDay,Until: | SummerDesignDay | 24:00,1,For:
| 12:00,0.65,Until: | 07:00,0.05,Until: | WinterDesignDay,Until: | Weekdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | Weekdays,Until:
| 15:00,0.55,Until: | 08:00,0.3,Until: | 24:00,0,For: | 06:00,0,Until: | Weekdays,Until: | 24:00,1,For: | 06:00,0,Until:
| 16:00,0.5,Until: | 09:00,0.85,Until: | Weekdays,Until: | 22:00,1,Until: | 06:00,0,Until: | Weekdays,Until: | 22:00,1,Until:
| 21:00,0.35,Until: | 12:00,0.95,Until: | 07:00,0,Until: | 24:00,0,For: | 22:00,1,Until: | 06:00,0,Until: | 24:00,0,For:
| 22:00,0.30,Until: | 15:00,0.8,Until: | 08:00,0.05,Until: | Saturdays,Until: | 24:00,0,For: | 22:00,1,Until: | Saturdays,Until:
| 24:00,0.05,For: | 16:00,0.7,Until: | 09:00,0.75,Until: | 07:00,0,Until: | Saturdays,Until: | 24:00,0,For: | 07:00,0,Until:
| Saturdays,Until: | 18:00,0.5,Until: | 11:00,0.9,Until: | 13:00,1,Until: | 07:00,0,Until: | Saturdays,Until: | 13:00,1,Until:
| 08:00,0.05,Until: | 21:00,0.35,Until: | 15:00,0.8,Until: | 24:00,0,For: | 13:00,1,Until: | 07:00,0,Until: | 24:00,0,For:
| 13:00,0.15,Until: | 22:00,0.30,Until: | 16:00,0.45,Until: | AllOtherDays,Until: | 24:00,0,For: | 13:00,1,Until: | AllOtherDays,Until:
| 24:00,0.05,For: | 24:00,0.05,For: | 17:00,0.15,Until: | 24:00,0,Through: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0,Through:
| AllOtherDays,Until: | Saturdays,Until: | 18:00,0.05,Until: | 12/31,For:SummerDesignDay | 24:00,0,Through: | AllOtherDays,Until: | 12/31,For:SummerDesignDay
| 24:00,0.05,Through: | 08:00,0.05,Until: | 19:00,0.15,Until: | WinterDesignDay,Until: | 12/31,For:SummerDesignDay | 24:00,0,Through: | WinterDesignDay,Until:
| 8/16,For:SummerDesignDay | 13:00,0.15,Until: | 21:00,0.2,Until: | 24:00,1,For: | WinterDesignDay,Until: | 12/31,For:SummerDesignDay | 24:00,1,For:
| WinterDesignDay,Until: | 24:00,0.05,For: | 22:00,0.1,Until: | AllOtherdays,Until: | 24:00,1,For: | WinterDesignDay,Until: | AllOtherdays,Until:
| 24:00,1,For: | AllOtherDays,Until: | 24:00,0,For: | 24:00,0 | AllOtherdays,Until: | 24:00,1,For: | 24:00,0
| AllOtherdays,Until: | 24:00,0.05,Through: | Saturdays,Until: |  | 24:00,0 | AllOtherdays,Until:
| 24:00,0,Through: | 8/16,For:SummerDesignDay | 08:00,0,Until: |  |  | 24:00,0
| 12/11,For: | WinterDesignDay,Until: | 13:00,0.1,Until:
| SummerDesignDay,Until: | 24:00,1,For: | 24:00,0,For:
| 24:00,1,For: | AllOtherdays,Until: | AllOtherDays,Until:
| WinterDesignDay,Until: | 24:00,0,Through: | 24:00,0,Through:
| 24:00,0,For: | 12/11,For: | 8/16,For:SummerDesignDay
| Weekdays,Until: | SummerDesignDay,Until: | WinterDesignDay,Until:
| 07:00,0.05,Until: | 24:00,1,For: | 24:00,1,For:
| 08:00,0.3,Until: | WinterDesignDay,Until: | AllOtherdays,Until:
| 09:00,0.6,Until: | 24:00,0,For: | 24:00,0,Through:
| 12:00,0.65,Until: | Weekdays,Until: | 12/11,For:
| 15:00,0.55,Until: | 07:00,0.05,Until: | SummerDesignDay,Until:
| 16:00,0.5,Until: | 08:00,0.3,Until: | 24:00,1,For:
| 21:00,0.35,Until: | 09:00,0.85,Until: | WinterDesignDay,Until:
| 22:00,0.30,Until: | 12:00,0.95,Until: | 24:00,0,For:
| 24:00,0.05,For: | 15:00,0.8,Until: | Weekdays,Until:
| Saturdays,Until: | 16:00,0.7,Until: | 07:00,0,Until:
| 08:00,0.05,Until: | 18:00,0.5,Until: | 08:00,0.05,Until:
| 13:00,0.15,Until: | 21:00,0.35,Until: | 09:00,0.75,Until:
| 24:00,0.05,For: | 22:00,0.30,Until: | 11:00,0.9,Until:
| AllOtherDays,Until: | 24:00,0.05,For: | 15:00,0.8,Until:
| 24:00,0.05,Through: | Saturdays,Until: | 16:00,0.45,Until:
| 12/31,For:SummerDesignDay | 08:00,0.05,Until: | 17:00,0.15,Until:
| WinterDesignDay,Until: | 13:00,0.15,Until: | 18:00,0.05,Until:
| 24:00,1,For: | 24:00,0.05,For: | 19:00,0.15,Until:
| AllOtherdays,Until: | AllOtherDays,Until: | 21:00,0.2,Until:
| 24:00,0 | 24:00,0.05,Through: | 22:00,0.1,Until:
|  | 12/31,For:SummerDesignDay | 24:00,0,For:
|  | WinterDesignDay,Until: | Saturdays,Until:
|  | 24:00,1,For: | 08:00,0,Until:
|  | AllOtherdays,Until: | 13:00,0.1,Until:
|  | 24:00,0 | 24:00,0,For:
AllOtherDays,Until:
24:00,0,Through:
12/31,For:SummerDesignDay
WinterDesignDay,Until:
24:00,1,For:
AllOtherdays,Until:
24:00,0

## Occupancy schedule description
Here’s what that schedule does in EnergyPlus:
What it is
Name: Classroom G.E1 Occupant Sch
Type limits: Unit Interval → values are fractions from 0 to 1.
Meaning: it’s the occupancy fraction for a classroom. EnergyPlus multiplies this fraction by the zone’s design number of people (from the People object). It also scales the internal gains (sensible/latent) and any outdoor air specified “per person.”
Weekday daily profile (whenever it’s “in session”):
Until 07:00 → 0.00 (unoccupied)
07:00–08:00 → 0.05
08:00–09:00 → 0.75
09:00–11:00 → 0.90
11:00–15:00 → 0.80
15:00–16:00 → 0.45
16:00–17:00 → 0.15
17:00–18:00 → 0.05
18:00–19:00 → 0.15
19:00–21:00 → 0.20
21:00–22:00 → 0.10
22:00–24:00 → 0.00
Saturdays (in session): 08:00–13:00 → 0.10; otherwise 0.00. AllOtherDays (Sundays/holidays): 0.00.
Calendar (your “in session” vs. “breaks”)
Holidays (break):
Jan 1
Jan 19
Feb 16
May 25
July 4
Sep 7
Oct 12
Nov 11
Nov 26
Dec 25
Jan 1–Jan 11: Break (occupancy 0 on normal days).
Jan 12–Apr 3: In session (uses the weekday/Saturday profile).
Apr 4–Apr 12: Break.
Apr 13–May 22: In session.
May 23–May 31: Break.
Jun 1–Aug 7: In session (summer term).
Aug 8–Aug 16: Break.
Aug 17–Dec 11: In session.
Dec 12–Dec 31: Break.
Design-day settings (for sizing runs)
SummerDesignDay: set to 1.0 all day (full occupancy during cooling sizing).
WinterDesignDay: set to 0.0 all day (no occupants during heating sizing), which is common to be conservative for heating loads.

## BT Comparison
OccSched |  |  | TempSetpoint
EPr | ERC | ESe | EPr |  | ERC |  | ESe
IDF | IDF | IDF | [6 empty] | ;
Schedule:Compact | Schedule:Compact | Schedule:Compact | IDF | IDF | IDF | IDF | IDF | IDF
Classroom G.E1 Occupant Sch | Classroom EL1 Spc (G.1) Occupant Sch | Classroom E1 West Perim (G.W1) Occupant Sch | Schedule:Compact | Schedule:Compact | Schedule:Compact | Schedule:Compact | Schedule:Compact | Schedule:Compact
Unit Interval | Unit Interval | Unit Interval | Classroom G.E1 Cooling Setpoint Schedule | Classroom G.E1 Heating Setpoint Schedule | Classroom EL1 Spc (G.1) Cooling Setpoint Schedule | Classroom EL1 Spc (G.1) Heating Setpoint Schedule | Classroom E1 West Perim (G.W1) Cooling Setpoint Schedule | Classroom E1 West Perim (G.W1) Heating Setpoint Schedule
Through: 1/11 | Through: 1/11 | Through: 12/31 | Temperature | Temperature | Temperature | Temperature | Temperature | Temperature
For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For: SummerDesignDay | Through: 1/11 | Through: 1/11 | Through: 1/11 | Through: 1/11 | Through: 12/31 | Through: 12/31
Until: 24:00 | Until: 24:00 | Until: 24:00 | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay
1 | 1 | 1 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: AllOtherdays | For: AllOtherdays | For: WinterDesignDay | 23.8889 | 21.1111 | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 24:00 | Until: 24:00 | Until: 24:00 | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays | For: Weekdays | For: Weekdays
0 | 0 | 0 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 06:00 | Until: 06:00
Through: 4/3 | Through: 4/3 | For: Weekdays | 29.4444 | 15.5556 | 29.4444 | 15.5556 | 29.4444 | 15.5556
For: SummerDesignDay | For: SummerDesignDay | Until: 07:00 | Through: 4/3 | Through: 4/3 | Through: 4/3 | Through: 4/3 | Until: 21:00 | Until: 21:00
Until: 24:00 | Until: 24:00 | 0 | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | 23.8889 | 21.1111
1 | 1 | Until: 08:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: WinterDesignDay | For: WinterDesignDay | 0.1 | 23.8889 | 21.1111 | 23.8889 | 21.1111 | 29.4444 | 15.5556
Until: 24:00 | Until: 24:00 | Until: 09:00 | For: Weekdays | For: Weekdays | For: Weekdays | For: Weekdays | For: Saturdays | For: Saturdays
0 | 0 | 0.2 | Until: 06:00 | Until: 06:00 | Until: 06:00 | Until: 06:00 | Until: 06:00 | Until: 06:00
For: Weekdays | For: Weekdays | Until: 11:00 | 29.4444 | 15.5556 | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 07:00 | Until: 07:00 | 0.5 | Until: 22:00 | Until: 22:00 | Until: 22:00 | Until: 22:00 | Until: 22:00 | Until: 22:00
0 | 0 | Until: 15:00 | 23.8889 | 21.1111 | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 08:00 | Until: 08:00 | 0.7 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
0.05 | 0.05 | Until: 16:00 | 29.4444 | 15.5556 | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 09:00 | Until: 09:00 | 0.8 | For: Saturdays | For: Saturdays | For: Saturdays | For: Saturdays | For: AllOtherDays | For: AllOtherDays
0.75 | 0.75 | Until: 17:00 | Until: 07:00 | Until: 07:00 | Until: 07:00 | Until: 07:00 | Until: 08:00 | Until: 08:00
Until: 11:00 | Until: 11:00 | 0.7 | 29.4444 | 15.5556 | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.9 | 0.9 | Until: 19:00 | Until: 13:00 | Until: 13:00 | Until: 13:00 | Until: 13:00 | Until: 19:00 | Until: 19:00
Until: 15:00 | Until: 15:00 | 0.5 | 23.8889 | 21.1111 | 23.8889 | 21.1111 | 23.8889 | 21.1111
0.8 | 0.8 | Until: 21:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
Until: 16:00 | Until: 16:00 | 0.3 | 29.4444 | 15.5556 | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.45 | 0.45 | Until: 24:00 | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays
Until: 17:00 | Until: 17:00 | 0 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
0.15 | 0.15 | For: Saturday | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 18:00 | Until: 18:00 | Until: 07:00 | Through: 4/12 | Through: 4/12 | Through: 4/12 | Through: 4/12
0.05 | 0.05 | 0 | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay
Until: 19:00 | Until: 19:00 | Until: 08:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
0.15 | 0.15 | 0.1 | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 21:00 | Until: 21:00 | Until: 09:00 | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays
0.2 | 0.2 | 0.2 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
Until: 22:00 | Until: 22:00 | Until: 10:00 | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.1 | 0.1 | 0.5 | Through: 5/22 | Through: 5/22 | Through: 5/22 | Through: 5/22
Until: 24:00 | Until: 24:00 | Until: 11:00 | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay
0 | 0 | 0.6 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: Saturdays | For: Saturdays | Until: 17:00 | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 08:00 | Until: 08:00 | 0.8 | For: Weekdays | For: Weekdays | For: Weekdays | For: Weekdays
0 | 0 | Until: 18:00 | Until: 06:00 | Until: 06:00 | Until: 06:00 | Until: 06:00
Until: 13:00 | Until: 13:00 | 0.6 | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.1 | 0.1 | Until: 21:00 | Until: 22:00 | Until: 22:00 | Until: 22:00 | Until: 22:00
Until: 24:00 | Until: 24:00 | 0.2 | 23.8889 | 21.1111 | 23.8889 | 21.1111
0 | 0 | Until: 22:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: AllOtherDays | For: AllOtherDays | 0.1 | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 24:00 | Until: 24:00 | Until: 24:00 | For: Saturdays | For: Saturdays | For: Saturdays | For: Saturdays
0 | 0 | 0 | Until: 07:00 | Until: 07:00 | Until: 07:00 | Until: 07:00
Through: 4/12 | Through: 4/12 | For: AllOtherdays | 29.4444 | 15.5556 | 29.4444 | 15.5556
For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | Until: 09:00 | Until: 13:00 | Until: 13:00 | Until: 13:00 | Until: 13:00
Until: 24:00 | Until: 24:00 | 0 | 23.8889 | 21.1111 | 23.8889 | 21.1111
1 | 1 | Until: 10:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: AllOtherdays | For: AllOtherdays | 0.1 | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 24:00 | Until: 24:00 | Until: 12:00 | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays
0 | 0 | 0.2 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
Through: 5/22 | Through: 5/22 | Until: 17:00 | 29.4444 | 15.5556 | 29.4444 | 15.5556
For: SummerDesignDay | For: SummerDesignDay | 0.4 | Through: 5/31 | Through: 5/31 | Through: 5/31 | Through: 5/31
Until: 24:00 | Until: 24:00 | Until: 18:00 | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay
1 | 1 | 0.2 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: WinterDesignDay | For: WinterDesignDay | Until: 19:00 | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 24:00 | Until: 24:00 | 0.1 | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays
0 | 0 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: Weekdays | For: Weekdays | 0 | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 07:00 | Until: 07:00 |  | Through: 8/7 | Through: 8/7 | Through: 8/7 | Through: 8/7
0 | 0 |  | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay
Until: 08:00 | Until: 08:00 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
0.05 | 0.05 |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 09:00 | Until: 09:00 |  | For: Weekdays | For: Weekdays | For: Weekdays | For: Weekdays
0.75 | 0.75 |  | Until: 06:00 | Until: 06:00 | Until: 06:00 | Until: 06:00
Until: 11:00 | Until: 11:00 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.9 | 0.9 |  | Until: 22:00 | Until: 22:00 | Until: 22:00 | Until: 22:00
Until: 15:00 | Until: 15:00 |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
0.8 | 0.8 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
Until: 16:00 | Until: 16:00 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.45 | 0.45 |  | For: Saturdays | For: Saturdays | For: Saturdays | For: Saturdays
Until: 17:00 | Until: 17:00 |  | Until: 07:00 | Until: 07:00 | Until: 07:00 | Until: 07:00
0.15 | 0.15 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 18:00 | Until: 18:00 |  | Until: 13:00 | Until: 13:00 | Until: 13:00 | Until: 13:00
0.05 | 0.05 |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 19:00 | Until: 19:00 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
0.15 | 0.15 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 21:00 | Until: 21:00 |  | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays
0.2 | 0.2 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
Until: 22:00 | Until: 22:00 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.1 | 0.1 |  | Through: 8/16 | Through: 8/16 | Through: 8/16 | Through: 8/16
Until: 24:00 | Until: 24:00 |  | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay
0 | 0 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: Saturdays | For: Saturdays |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 08:00 | Until: 08:00 |  | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays
0 | 0 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
Until: 13:00 | Until: 13:00 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.1 | 0.1 |  | Through: 12/11 | Through: 12/11 | Through: 12/11 | Through: 12/11
Until: 24:00 | Until: 24:00 |  | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay | For: SummerDesignDay WinterDesignDay
0 | 0 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: AllOtherDays | For: AllOtherDays |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 24:00 | Until: 24:00 |  | For: Weekdays | For: Weekdays | For: Weekdays | For: Weekdays
0 | 0 |  | Until: 06:00 | Until: 06:00 | Until: 06:00 | Until: 06:00
Through: 5/31 | Through: 5/31 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay |  | Until: 22:00 | Until: 22:00 | Until: 22:00 | Until: 22:00
Until: 24:00 | Until: 24:00 |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
1 | 1 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: AllOtherdays | For: AllOtherdays |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 24:00 | Until: 24:00 |  | For: Saturdays | For: Saturdays | For: Saturdays | For: Saturdays
0 | 0 |  | Until: 07:00 | Until: 07:00 | Until: 07:00 | Until: 07:00
Through: 8/7 | Through: 8/7 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
For: SummerDesignDay | For: SummerDesignDay |  | Until: 13:00 | Until: 13:00 | Until: 13:00 | Until: 13:00
Until: 24:00 | Until: 24:00 |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
1 | 1 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: WinterDesignDay | For: WinterDesignDay |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 24:00 | Until: 24:00 |  | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays | For: AllOtherDays
0 | 0 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
For: Weekdays | For: Weekdays |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
Until: 07:00 | Until: 07:00 |  | Through: 12/31 | Through: 12/31 | Through: 12/31 | Through: 12/31
0 | 0 |  | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay
Until: 08:00 | Until: 08:00 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
0.05 | 0.05 |  | 23.8889 | 21.1111 | 23.8889 | 21.1111
Until: 09:00 | Until: 09:00 |  | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays | For: AllOtherdays
0.75 | 0.75 |  | Until: 24:00 | Until: 24:00 | Until: 24:00 | Until: 24:00
Until: 11:00 | Until: 11:00 |  | 29.4444 | 15.5556 | 29.4444 | 15.5556
0.9 | 0.9
Until: 15:00 | Until: 15:00
0.8 | 0.8
Until: 16:00 | Until: 16:00
0.45 | 0.45
Until: 17:00 | Until: 17:00
0.15 | 0.15
Until: 18:00 | Until: 18:00
0.05 | 0.05
Until: 19:00 | Until: 19:00
0.15 | 0.15
Until: 21:00 | Until: 21:00
0.2 | 0.2
Until: 22:00 | Until: 22:00
0.1 | 0.1
Until: 24:00 | Until: 24:00
0 | 0
For: Saturdays | For: Saturdays
Until: 08:00 | Until: 08:00
0 | 0
Until: 13:00 | Until: 13:00
0.1 | 0.1
Until: 24:00 | Until: 24:00
0 | 0
For: AllOtherDays | For: AllOtherDays
Until: 24:00 | Until: 24:00
0 | 0
Through: 8/16 | Through: 8/16
For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay
Until: 24:00 | Until: 24:00
1 | 1
For: AllOtherdays | For: AllOtherdays
Until: 24:00 | Until: 24:00
0 | 0
Through: 12/11 | Through: 12/11
For: SummerDesignDay | For: SummerDesignDay
Until: 24:00 | Until: 24:00
1 | 1
For: WinterDesignDay | For: WinterDesignDay
Until: 24:00 | Until: 24:00
0 | 0
For: Weekdays | For: Weekdays
Until: 07:00 | Until: 07:00
0 | 0
Until: 08:00 | Until: 08:00
0.05 | 0.05
Until: 09:00 | Until: 09:00
0.75 | 0.75
Until: 11:00 | Until: 11:00
0.9 | 0.9
Until: 15:00 | Until: 15:00
0.8 | 0.8
Until: 16:00 | Until: 16:00
0.45 | 0.45
Until: 17:00 | Until: 17:00
0.15 | 0.15
Until: 18:00 | Until: 18:00
0.05 | 0.05
Until: 19:00 | Until: 19:00
0.15 | 0.15
Until: 21:00 | Until: 21:00
0.2 | 0.2
Until: 22:00 | Until: 22:00
0.1 | 0.1
Until: 24:00 | Until: 24:00
0 | 0
For: Saturdays | For: Saturdays
Until: 08:00 | Until: 08:00
0 | 0
Until: 13:00 | Until: 13:00
0.1 | 0.1
Until: 24:00 | Until: 24:00
0 | 0
For: AllOtherDays | For: AllOtherDays
Until: 24:00 | Until: 24:00
0 | 0
Through: 12/31 | Through: 12/31
For:SummerDesignDay WinterDesignDay | For:SummerDesignDay WinterDesignDay
Until: 24:00 | Until: 24:00
1 | 1
For: AllOtherdays | For: AllOtherdays
Until: 24:00 | Until: 24:00
0 | 0
; |  | ;
|  |  | ; | ; | ; | ; | ; | ;